SECTION H.

DROUGHT CONTINGENCY AND EMERGENCY WATER DEMAND MANAGEMENT PLAN

- Declaration of Policy. Purpose and Intent In order to conserve the available water supply and protect the integrity of water supply facilities, with particular regard for domestic water use, sanitation, fire protection, and to protect and preserve the public health, welfare, and safety and minimize the adverse impacts of water supply shortage or other water supply emergency conditions, Dog Ridge WSC adopts these regulations and restrictions on the delivery and consumption of water through resolution.

- Public Involvement. Opportunity for the public to provide input into the preparation of the Plan was provided by the Board by scheduling and providing public notice of a meeting to accept the public's and our customers' input on the Plan. In the adoption of this plan, the Board considered all comments.

- Public Education. The Corporation will periodically provide the public with information about the Plan, including information about the conditions under which each stage of the Plan is to be initiated or terminated and the drought response measures to be implemented in each stage. This information will be provided by means of notices upon the customers' utility bills, inserts enclosed with utility bills and/or public press releases.

4.	Coordination with Resional Plannins Groups. The service area for the Corporation is located
within the jurisdiction of the Brazos River Authority and a copy of this Plan has been provided to them
as well as Central Texas Water Supply Corporation.

- Authorization. The General Manager is hereby authorized and directed to implement the applicable provisions of this Plan upon determination that such implementation is necessary to protect public health, safety, and welfare. The General Manager, of his or her designee, shall have the authority to initiate drought or other water supply emergency response measures as described in this Plan.

- Application. The provisions of this Plan shall apply to all persons, customers, and property utilizing water provided by Dog Ridge Water Supply Corporation. The terms "person" and "customer" as used in this Plan includes individuals, corporations, partnerships, associations, and all other legal entities.

- Definitions. For the purposes of this Plan, the following definitions shall apply:

Aesthetic Water Use - water use for ornamental or decorative purposes such as fountains, reflecting pools, and water gardens.

Commercial and Institutional Water Use - water use which is integral to the operations of commercial  and non-profit establishments and governmental  entities such as retail

establishments, hotels and motels, restaurants, and office buildings.

Conservation - those practices, techniques, and technologies that reduce the consumption of water, reduce the loss or waster of water, improve the efficiency in the use of water or increase the recycling and reuse of water so that a supply is conserved and made available for future or alternative uses.

Customer - any person using water supplied by Dog Ridge Water Supply Corporation.

Domestic Water Use - water use for personal needs, for household needs, or for sanitary purposes such as drinking, bathing, heating, cooking, sanitation, or for cleaning a residence, business, industry, or institution.

Even Numbered Addresses - street addresses, box numbers or rural postal route numbers ending in 0,2,4,6, or 8, and those locations that do not have or have not been assigned a street address.

Industrial Water Use - the use of water in processes designed to convert materials of lower value into forms having a greater usability and value.

Landscape Irrigations Use - water used for the irrigation and maintenance of landscaped areas, whther publicly or privately owned, including residential and commercial lawns, gardens, golf courses, parks, and rights-of-way and medians.

Non-essential Water Use - water uses that are not essential nor required for the protection of the public health, safety and welfare, including:

- irrigation of landscape ares, including parks, athletic fields, and golf courses, except as provided in this plan;

- use of water to wash any motor vehicle, motorbike, boat, trailer, airplane, or other vehicle;

- use of water to wash down any sidewalks, walkways, driveways, parking lots, tennis courts, or other hard-surfaced areas;

- use of water to wash down buildings or structures for puposes other than immediate fire protection;

- flushing gutters or permitting water to run or accumulate in any gutter or street;

- use of water ot fill, refill, or add to any indoor or outdoor swimming pools or jacuzzi-type pools;

- use of water in a fountain or pond for aesthetic or scenic purposes except where necessary to support acquatic life;

(h)      failure to repari a controllable leak(s) within a reasonable period after having been given notice of directing the repair of such leak(s); and,

(i)       use of water from hydrants for construction purposes or any other purposes other than fire fighting.

Odd Numbered Addresses - street addresses, box numbers, or rural postal route numbers ending in 1,3, 5, 7 or 9.

8. Criteria for Initiation and Termination ofDrought Response Stases. The General Manager shall monitor water supply and/or demand conditions on a daily basis and shall determine when conditions warrant initiation or termination of each stage of the Plan, that is, when the specified "triggers" are reached.

The triggering criteria described below are based upon known system capacity limits and the level of the raw water sources for treatment.

Stage 1 Triggers - Mild Water Shortage Conditions

Requirements for Initiation - Customers shall be requested to voluntarily conserve water and adhere to the prescribed restrictions on certain water uses, defined in Section Seven (7) - Definitions, when:

- When notification is received requesting initiation of Stage 1 of the Drought Contingency Plan from any wholesale water supplier to Dog Ridge WSC; or

- Continually falling treated water reservoir levels which do not refill above eighty (80%) for three (3) consecutive days; or

- Water supply is reduced to a level that is only 20 percent greater than the average consumption for the previous month; or

- There is an extended period (of at least eight (8) weeks) of low rainfall and daily use has risen 20 percent above the use for the same period during the previous year.

Requirements for Termination - Stage 1 of the Plan may be rescinded when all of the conditions listed as triggering events have ceased to exist for a period of three (3) consecutive days.

Stage 2 Triggers - Moderate Water Shortage Condition

Requirements for Initiation - Customers shall be required to comply with the requirements and restrictions on certain non-essential water uses provided in Section 9 of this Plan when:

•	Water consumption has reached ninety percent (90%) of the amount available for three
consecutive days.

- The water level in any of the Corporation's water storage tanks cannot be replenished for three (3) consecutive days.

- Failure of a major component of the Corporation's system or an event which reduces the minimum residual pressure in the system below 20 psi for a period of twenty-four (24) hours or longer.

- Reduction of any wholesale water supply due to drought conditions.

- Other unforeseen events which could or does cause imminent health or safety risks to the public.

Requirements for Termination - Stage 2 of the Plan may be rescinded when all of the conditions listed as triggering events have ceased to exist for a period of three (3) consecutive days. Upon termination for Stage 2, Stage 1 becomes operative.

Stage 3 Triggers - SEVERE Water Shortage Conditions

Requirements for Initiation - Customers shall be required to comply with the requirements and restrictions on certain nonessential water uses for Stage 3 of this Plan when

- Water consumption of 95 percent or more of the maximum available for three (3) consecutive days.

- The level in the water storage tanks continues to decline for three (3) consecutive days.

- The declaration of a state of disaster due to drought conditions in Bell County.

Requirements for termination - Stage 3 of the Plan may be rescinded when all of the conditions listed as triggering events have ceased to exist for a period of three (3) consecutive days. Upon termination of Stage 3, Stage 2 becomes operative.

Stag 4 Triggers - CRITICAL Water Shortage Conditions

Requirements for initiation - Customers shall be required to comply with the requirements and restrictions on certain nonessential water uses for Stage 4 of this Plan when:

- Water consumption of 100 percent of the maximum available and the water storage levels in the system drop during one contiguous forty-eight (48) hour period.

- Natural or man-made contamination of the water supply source(s).

Requirements for termination - Stage 4 of the plan may be rescinded when all of the conditions listed as triggering events have ceased to exist for period of three (3) consecutive days. Upon termination of Stage 4, Stage 3 becomes operative.

Stage 5 Triggers - EMERGENCY Water Shortage Conditions

Requirements for initiation - Customers shall be required to comply with the requirements and restrictions for Stage 5 of this Plan when the general manager, or his/her designee, determines that a water supply emergency exists based on:

- Major water line breaks, or pump or system failures occur, which cause unprecedented loss of capability to provide water service; or

- Natural or man-made contamination of the water supply source(s).

Requirements for termination - Stage 5 of the Plan may be rescinded when all of the conditions listed as triggering events have ceased to exist for a period of forty-eight (48) consecutive hours.

Stage 6 Triggers - WATER ALLOCATION

Requirements for initiation - Customers shall be required to comply with the water allocation plan prescribed in Section 9 of this Plan and comply with the requirements and restrictions for Stages 4 and 5ofthisPlanwhen:

- Water consumption of 100 percent of the maximum available and the water storage levels in the system drop during one consecutive seventy-two (72) hour period.

- Natural or man-made contamination of the water supply source(s).

- Major water line breaks, or pump or system failures occur, which cause unprecedented loss of capability to provide water service

Requirements for termination - Water allocation may be rescinded when all of the conditions listed as triggering events have ceased to exist for a period of forty-eight (48) consecutive hours.

9. Drought Response Stages. The general manager, or his/her designee, shall monitor water supply and/or demand conditions on a daily basis and, in accordance with the triggering criteria set forth in Section Eight of this Plan, shall determine that a mild, moderate, severe, critical, emergency or water shortage condition exists and shall implement the following notification procedures:

Notification

Notification to the Public: The general manager or his/her designee shall notify the public by means of:

direct mail to each customer, public service announcements, and signs posted in public places.

Additional Notification: The general manager or his/her designee shall notify directly, or cause to be notified directly, the following individuals and entities:

Fire Chief(s) - Stage 3 or above

County Emergency Management Coordinator - Stage 3 or above

TCEQ (when mandatory restrictions are imposed) - Stage 4 or above

County Judge - Stage 4 or above

Bell County Department of Health - Stage 4 or above

Stage 1 Response - MILD Water Shortage Conditions

Target:  Achieve a voluntary six percent (6%) reduction in daily water demand.

Best Management Practices for Supply Management: Reduced flushing of water mains.

Voluntary Water Use Restriction for Reducing Demand:

a.) 	Water customers are requested to voluntarily limit the irrigation of landscaped areas to Sundays and Thursdays for customers with a street address ending in a even number (0, 2,4, 6 or 8), and Saturdays and Wednesdays for water customers with a street address ending in an odd number (1, 3, 5, 7 or 9), and to irrigate landscapes only between the hours of midnight to 6:00 a.m. and 9:00 p.m. to midnight on designated watering days.

- All operations of the Dog Ridge Water Supply Corporation shall adhere to water use restrictions prescribed for Stage 2 of the Plan.

- Water customers are requested to practice water conservation and to minimize or discontinue water use for non-essential purposes.

Stage 2 Response - MODERATE Water Shortage Conditions

Target: Achieve a twelve percent (12%) reduction in daily water demand.

Best Management Practices for Supply Management:   Discontinue flushing of water mains and

discontinue irrigation of public landscaped areas.

Water Use Restrictions for Demand Reduction: The following water use restrictions shall apply to all persons:

a.) 	Irrigation of landscaped areas with hose-end sprinklers or automatic irrigation systems shall be limited to Sundays and Thursdays for customers with a street address ending in a even number (0, 2, 4, 6 or 8), and Saturdays and Wednesdays for water customers with a street address ending in an odd number (1, 3, 5, 7or 9), and irrigation of landscaped areas is further limited to the hours of 12:00 midnight until 8:00 a.m. and between 9:00 p.m. until 12:00 midnight on designated watering days. However, irrigation of landscaped areas is permitted at anytime if it is by means of a hand-held hose, a faucet filled bucket or watering can of five (5) gallons or less, or drip irrigation system.

- Use of water to wash any motor vehicle, motorbike, boat, trailer, airplane, or other vehicle is prohibited except on designated watering days between the hours of 12:00 midnight and 10:00 a.m. and between 9:00 p.m. and 12:00 midnight. Such washing, when allowed, shall be done with a hand-held bucket or a hand-held hose equipped with a positive shutoff nozzle for quick rinses. Vehicle washing may be done at any time on the immediate premises of a commercial car wash or commercial service station. Further, such washing may be exempted from these regulations if the health, safety, and welfare of the public is contingent upon frequent vehicle cleansing, such as garbage trucks and vehicles used to transport food and perishables.

- Use of water to fill, refill, or add to any indoor or outdoor swimming pools, wading pools, or jacuzzi-type pools is prohibited except on designated watering days between the hours of 12:00 midnight and 8:00 a.m. and between 9 p.m. and 12:00 midnight.

- Operation of any ornamental fountain or pond for aesthetic or scenic purposes is prohibited except where necessary to support aquatic life or where such fountains or ponds are equipped with a recirculation system.

- Use of water from hydrants shall be limited for fire fighting, related activities, or other activities necessary to maintain public health, safety, and welfare, except that use of water from designated fire hydrants for construction purposes may be allowed under special permit from Dog Ridge WSC.

- Use of water for the irrigation of golf course greens, tees, and fairways is prohibited except on designated watering days between the hours 12:00 midnight and 8:00 a.m. However, if the golf course utilizes a water source other than that provided by Dog Ridge WSC, the facility shall not be subject to these regulations.

g) 	All restaurants are prohibited from serving water to patrons except upon request of the patron.

h)       The following uses of water are defined as non-essential and are prohibited:

i.	wash down of any sidewalks, walkways, driveways, parking lots, tennis courts,

or other hard-surfaced areas;

ii.         use of water to wash down buildings or structures for purposes other than

immediate fire protection;

iii.       use of water for dust control;

iv.         flushing gutters or permitting water to run or accumulate in any gutter or street;

and

v.         failure to repair a controllable leak(s) within a reasonable period after having

been given notice directing the repair of such leak(s).

Stage 3 Response - SEVERE Water Shortage Conditions

Target: Achieve a twenty-four percent (24%) reduction in daily water demand.

Best Management Practices for Supply Management: Dog Ridge Water Supply Corporation shall manage limited water supplies and/or reduce water demand by all possible means, including continual leak detection, break management, and any other means available to conserve water loss and reduce daily demand.

Water Use Restrictions for Demand Reduction: Under threat of penalty, all requirements of Stage 2 shall remain in effect during Stage 3 except:

- Irrigation of landscaped areas shall be limited to designated watering days between the hours of 12:00 midnight and 6:00 a.m. and between 9 p.m. and 12:00 midnight and shall be by means of hand-held hoses, hand-held buckets, drip irrigation, or permanently installed automatic sprinkler system only. The use of hose-end sprinklers is prohibited at all times.

- The watering of public facilities is prohibited unless the public facility utilizes a water source other than provided by Dog Ridge Water Supply Corporation.

- The use of water for construction purposes from designed flush valves or fire hydrants under special permit will to be discontinued.

Stage 4 Response - CRITICAL Water Shortage Conditions

Target: Achieve a thirty-six percent (36%) reduction in total water use.

Best Management Practices for Supply Management: Dog Ridge Water Supply Corporation shall manage limited water supplies and/or reduce water demand by all possible means, including continual leak detection, break management, and any other means available to conserve water loss and reduce daily demand.

Water Use Restrictions for Reducing Demand: All requirements of Stage 2 and 3 shall remain in effect during Stage 4 except:

- Irrigation of landscaped areas shall be limited to designated watering days between the hours of 12:00 midnight and 6:00 a.m. and shall be by means of hands-held hoses, hand-held buckets, or drip irrigation only. The use of hose-end sprinklers or permanently installed automatic sprinkler systems are prohibited at all times.

- Use of water to wash any motor vehicle, motorbike, boat, trailer, airplane, or other vehicle not occurring on the premises of a commercial car wash and commercial service stations and not in the immediate interest of public health, safety, and welfare in prohibited. Further, such vehicle washing at commercial car washes and commercial service stations shall occur only between the hours of 4:00 a.m. and 8:00 a.m. and between 8:00 p.m. and 11:00 p.m.

c.) 	The filling, refilling, or adding of water to swimming pools, wading pools, and jacuzzi-type pools is prohibited.

- Operation of any ornamental fountain or pond for aesthetic or scenic purposes is prohibited except where necessary to support aquatic life or where such fountains or ponds are equipped with a recirculation system.

- No application for new, additional, expanded, or increase-in-size water service connections, meters, service lines, pipelines extensions, mains, or water service facilities or any kind shall be approved, and time limits for approval of such applications shall be suspended for such time as this drought response stage or a higher-numbered stage shall be in effect.

Stage 5 Response - EMERGENCY Water Shortage Conditions

Target: Achieve a fifty percent (50%) reduction in total water use.

Best Management Practices for Supply Management: Dog Ridge Water Supply Corporation shall manage limited water supplies and/or reduce water demand by all possible means, including continual

leak detection, break management, and any other means available to conserve water loss and reduce daily demand.

Water Use Restrictions for Reducing Demand. All requirements of Stage 2, 3, and 4 shall remain in effect during Stage 5 except:

- Irrigation of Landscaped areas is absolutely prohibited.

- Use of water to wash any motor vehicle, motorbike, boat, trailer, airplane or other vehicle is absolutely prohibited.

(c)	Construction activities using water is absolutely prohibited.

Stage 6 Response - WATER ALLOCATION

In the event that water shortage conditions threaten public health, safety, and welfare, the general manager is hereby authorized to allocate water according to the following water allocation plan:

Single-Family Residential Customers - The allocation to residential water customers residing in a single-family dwelling shall be as follows:

Persons per Household	Gallons per Month

lor 2	5,000

3 or 4	10,000

5 or 6	15,000

7 or 8	20,000

9 or 10	25,000

11 or more	30,000

"Household" means the residential premises served by the customer's meter. "Persons per Household" includes only those persons currently physically residing at the premises and expected to reside there for the entire billing period. It shall be assumed that a particular customer's household is comprised of two (2) persons unless the customer notifies Dog Ridge WSC of a greater number of persons per household on a form prescribed by the general manager. The general manager shall give his/her best effort to see that such forms are mailed, otherwise provided, or made available to every residential customer. If, however, a customer does not receive such a form, it shall be the customer's responsibility to go to Dog Ridge WSC's office to complete and sign the form claiming more than two (2) persons per household. New customers may claim more persons per household at the time of applying for water service on the form prescribed by the general manager. When the number of persons per household increases so as to place the customer in a different allocation category, the customer may notify Dog Ridge WSC on such form and the change will be implemented in the next practicable billed period. If

the number of persons in a household is reduced, the customer shall notify Dog Ridge WSC in writing within two (2) days. In prescribing the method for claiming more than two (2) persons per household, the general manager shall adopt methods to insure the accuracy of the claim.

Residential water customers shall pay the following surcharges:

$0.50 each thousand gallons for the first 5,000 gallons over allocation. $0.75 each thousand gallons for the second 5,000 gallons over allocation. $1.00 each thousand gallons for the third 5,000 gallons over allocation. $1.50 for each additional 1,000 gallons over allocation.

Surcharges shall be cumulative.

Master-Metered Multi-Family Residential Customers - The allocation to a customer billed from a master meter which jointly measures water to multiple permanent residential dwelling units (example: apartments, mobile homes) shall be allocated 6,000 gallons per month for each dwelling unit. It shall be assumed that such a customer's meter serves two dwelling units unless the customer notifies Dog Ridge WSC of a greater number on a form prescribed by the general manager. The general manager shall give his/her effort to see that such forms are mailed, otherwise provided, or made available to every such customer. If, however, a customer does not receive such a form, it shall be the customer's responsibility to go to Dog Ridge WSC's office to complete and sign the form claiming more that two (2) dwellings. A dwelling unit may be claimed under his provision whether it is occupied or not. New customers may claim more dwelling unit at the time of applying for water service on the form prescribed by the general manager. If the number of dwelling units served by a master meter is reduced, the customer shall notify the Dog Ridge WSC in writing within two (2) days. In prescribing the method for claiming more than two (2) dwelling units, the general manager shall adopt methods to insure the accuracy of the claim. Customers billed from a master meter under this provision shall pay the following monthly surcharges:

$0.50 for each 1,000 gallons over allocation up through 5,000 gallons for each dwelling unit.

$0.75, thereafter, for each additional 1,000 gallons over allocation up through a second 5,000 gallons for each dwelling unit.

$1.00, thereafter, for each additional 1,000 gallons over allocation up through a third 5,000 gallons for each dwelling unit.

$1.50, thereafter for each additional 1,000 gallons over allocation.

Surcharges shall be cumulative.

Commercial Customers - A monthly water allocation shall be established by the manager, or his/her

designee, for each nonresidential commercial customer other than an industrial customer who uses water for processing purposes. The non-residential customer's allocation shall be approximately seventy-five (75%) percent of the customer's usage for corresponding month's billing period for the previous twelve (12) months. If the customer's billing history is shorter than twelve (12) months, the monthly average for the period for which there is a record shall be used for any monthly period for which no history exists. Provided, however, a customer, whose monthly usage is less than 6,000 gallons, shall be allocated 6,000 gallons. The General Manager shall give his/her best effort to see that notice of each non-residential customer's allocation is mailed to such customer. If, however, a customer does not receive such notice, it shall be the customer's responsibility to contact Dog Ridge WSC to determine the allocation. Upon request of the customer or at the initiative of the manager, the allocation may be reduced or increased if, (1) the designated period does not accurately reflect the customer's normal water usage, (2) one nonresidential customer agrees to transfer part of its allocation to another nonresidential customer, or (3) other objective evidence demonstrates that the designated allocation is inaccurate under present conditions. A customer may appeal an allocation established hereunder to Dog Ridge WSC's Board of Directors. Nonresidential commercial customers shall pay the following surcharges:

Customers whose allocation is 6,000 gallons per month:

$.50 per thousand gallons for the first 1,000 gallons over allocation. $.75 per thousand gallons for the second 1,000 gallons over allocation. $1.00 per thousand gallons for the third 1,000 gallons over allocation. $1.50 per thousand gallons for each additional 1,000 gallons over allocation.

Customers whose allocation is 100,000 gallons per month or more:

1.25 times the block rate for each 1,000 gallons is excess of the allocation up through 10 percent above allocation.

1.50 times the block rate for each 1,000 gallons from 10.1 percent through 20 percent above allocation.

1.75 times the block rate for each 1,000 gallons from 20.1 percent though 30 percent above allocation.

2.5 times the block rate for each 1,000 gallons more than 30 percent above allocation.

The surcharge shall be cumulative. As used herein, "block rate" means the charge to the customer per 1,000 gallons at the regular water rate schedule at the level of the customer's allocation.

Industrial Customers - A monthly water allocation shall be established by the general manager, or his/her designee, for each industrial customer, which uses water for processing purposes. The industrial customer's allocation shall be approximately eighty percent (80%) percent of the customer's water usage baseline. Ninety (90) days after the initial imposition of the allocation for industrial customers, the industrial customer's allocation shall be further reduced to sixty percent (60%) percent of the customer's water usage baseline. The industrial customer's water use baseline will be computed on the average water use for the six month period ending prior to the date of implementation of Stage 3 of the Plan. If the industrial water customer's billing history is shorter than six (6) months, the monthly average for the period for which there is a record shall be used for any monthly period for which billing history exists. The general manager shall give his/her best effort t see that notice of each industrial customer's allocation is mailed to such customer. If, however, a customer does not receive such notice, it shall be the customer's responsibility to contact Dog Ridge WSC to determine the allocation, and the allocation shall be fully effective notwithstanding the lack of receipt of written notice. Upon request of the customer or at the initiative of the General Manager, the allocation may be reduced or increased, (1) if the designated period does not accurately reflect the customer's normal water use because the customer had shutdown a major processing unit for repair or overhaul during the period, (2) the customer has added or is in the process of adding significant additional processing capacity, (3) the customer has shutdown or significantly reduced the production of a major processing unit, (4) the customer has previously implemented significant permanent water conservation measures such that the ability to further reduce water use is limited, (5) the customer agrees to transfer part of its allocation to another industrial customer, or (6) if other objective evidence demonstrates that the designated allocation is inaccurate under present conditions. A customer may appeal an allocation established hereunder to the Board of Directors. Industrial customers shall pay the following surcharges:

Customers whose allocation is 6,000 gallons through 100,000 gallons per month:

$0.50 per thousand gallons for the first 10,000 gallons over allocation. $0.75 per thousand gallons for the second 10,000 gallons over allocation. $1.00 per thousand gallons for the third 10,000 gallons over allocation. $1.50 per thousand gallons for each additional 10,000 gallons over allocation.

Customers whose allocation is 200,000 gallons per month or more:

1.25 times the block rate for each 1,000 gallons is excess of the allocation up through 10 percent above allocation.

1.5 times the block rate for each 1,000 gallons from 10.1 percent through 20 percent above allocation.

1.75 times the block rate for each 1,000 gallons from 20.1 percent though 30 percent above allocation.

2.5 times the block rate for each 1,000 gallons more than 30 percent above allocation.

The surcharges shall be cumulative. As used herein, "block rate" means the charge to the customer per 1,000 gallons at the regular water rate schedule at the level of the customer's allocation.

10.	Enforcement.

a) 	No person shall knowingly or intentionally allow the use of water from Dog Ridge WSC for residential, commercial, industrial, agricultural, governmental, or any other purpose in a manner contrary to any provision of this Plan, or in an amount in excess of that permitted by the drought response stage in effect at the time pursuant to action taken by the General Manager, or his/her designee, in accordance with provisions of this Plan.

b.) 	If a member violates one or more of the provisions in this Plan, the General Manager shall give notice of violation to the customer. The General Manager is authorized to discontinue water service to the premises where such violations occur if a member has been notified of three (3) violations within any sixty (60) day period.. Services discontinued under such circumstances shall be restored only upon payment of a re-connection charge, hereby established at $200.00, and any other costs incurred by Dog Ridge WSC in discontinuing service. In addition, suitable assurance must be given to the General Manager that the same action shall not the repeated while the Plan is in effect. Compliance with this plan may also be sought through injunctive relief in any district court.

- Any person, including a person classified as a water customer of Dog Ridge WSC, in apparent control of the property where a violation occurs or originates shall be presumed to be the violator, and proof that the violation occurred on the person's property shall constitute a rebuttable presumption that the person in apparent control of the property committed the violation, but any such person shall have the right to show that he/she did not commit the violation.

- Any employee of Dog Ridge WSC or other employee designated by the General Manger, may issue a notice of violation to a person he/she reasonably believes to be in violation of this Plan.

11.	Variances

The General Manager, or his/her designee, may, in writing, grant temporary variance for existing water uses otherwise prohibited under this Plan if it is determined that failure to grant such variance would cause an emergency condition adversely affecting the health, sanitation, or fire protection for the public or the person requesting such variance and it one or more of the following conditions are met:

- Compliance with this Plan cannot be technically accomplished during the duration of the water supply shortage or other condition for which the Plan is in effect.

- Alternative methods can be implemented which will achieve the same level of reduction in water use.

Persons requesting an exemption from the provisions of this Plan shall file a petition for variance with Dog Ridge WSC within five (5) days after the Plan or a particular drought response stage has been invoked. All petitions for variances shall be reviewed by the General Manager, or his/her designee, shall include the following:

- Name and Address of the petitioner(s).

- Purpose of water use.

- Specific provision(s) of the Plan from which the petitioner is requesting relief.

- Detailed statement as to how the specific provision of the Plan adversely affects the petitioner or what damage or harm will occur to the petitioner or others if petitioner complies with this Plan.

- Description of the relief requested.

- Period of time for which the variance is sought.

- Alternative water use restrictions or other measures the petitioner is taking or proposes to take to meet the intent of this Plan and the compliance date.

h)        Other pertinent information.

Variances granted by Dog Ridge WSC shall be subject to the following conditions, unless waived or modified by the manager or his/her designee:

- Variances granted shall include a timetable for compliance.

- Variances granted shall expire when the Plan is no longer in effect, unless the petitioner has failed to meet specified requirements.

No variance shall be retroactive or otherwise justify any violation of this Plan occurring prior to the issuance of the variance.

DOG RIDGE WATER SUPPLY CORPORATION

Mailing Address

Post Office Box 232 Belton, Texas 76513

Business Office Address

7480 FM 2410 Belton, Texas 76513

Telephone Numbers

Office and Water Emergencies (254) 939-6533 (Answered Twenty-four (24) Hours)

CERTIFICATE OF CONVENIENCE AND NECESSITY NUMBER 10048

SERVING WATER TO CENTRAL BELL COUNTY, TEXAS